## Slide 1
Zaber GUI Code Walkthrough
Structure of index.html and run_web_gui.py
What this deck explains
- How index.html is split into HTML, CSS, and JavaScript
- How run_web_gui.py acts as the local Python bridge
- How test windows, analysis tabs, folders, and simulated data flow together
- Where real Zaber and FUTEK hardware integration belongs
Browser UI -> Python backend -> files + hardware
index.html
run_web_gui.py
outputs / devices

## Slide 2
1. The app is a browser-based GUI with a local Python backend
The browser gives the modern interface; Python keeps access to local files, analysis generation, and hardware-oriented code.
Browser UI
index.html
Local API server
run_web_gui.py
Filesystem
FUT / CAP / Analysis
Hardware layer
Zaber + FUTEK
fetch()
Important mental model: the page can be opened as a file, but API calls only work when run_web_gui.py is running and serving http://127.0.0.1:8765/index.html.

## Slide 3
2. File map: what each major file is responsible for
web_preview/index.html
single-page GUI: markup, styling, modals, graphs, state, and browser actions
web_preview/run_web_gui.py
local HTTP server: routes, folder checks, preview data files, analysis outputs
zaber_cli.py / futek_cli.py
hardware-facing Python modules copied from the original Tkinter project
Zaber_GUI_Checks_Documentation.xlsx
requirements/check tracker and user story tracker
FUT / CAP / Analysis folders
runtime output structure created when analysis is performed

## Slide 4
3. index.html: one file, three layers
HTML
what exists on screen
- main setup form
- dialog windows
- buttons
- SVG graph containers
CSS
how it looks
- colors
- typography
- cards
- state pills
- modals
- graph sizing
JavaScript
how it behaves
- validation
- state
- fake live data
- API calls
- analysis tabs

## Slide 5
4. HTML structure: the page is mostly sections and dialogs
<main>
Basic Settings
Test Configuration
</main>
<dialog id="emTestModal">
<dialog id="emAnalysisModal">
<dialog id="manualTestModal">
<dialog id="cyclicalTestModal">
<dialog id="shearTestModal">
<dialog id="calibrationModal">
<dialog id="existingTestModal">
Why dialogs?
- Each workflow feels like its own window without leaving the page
- The main form stays behind the active test or analysis view
- Dialog IDs become JavaScript handles for opening, closing, and updating content
The UI is still one browser page, but it behaves like a multi-window desktop app.

## Slide 6
5. CSS: a small design system for a lab instrument UI
cards + blocks
blue primary buttons
green start buttons
red stop / pause states
- CSS variables define the visual language: navy text, muted notes, blue action color, green start, red stop
- Reusable classes style cards, state pills, buttons, tables, dialogs, and graph wrappers
- SVG graphs inherit the same spacing, axes, and color conventions
Useful explanation for your boss
The CSS is not just decoration. It makes test state readable at a glance: ready, running, stopped, warning, analysis-ready.

## Slide 7
6. JavaScript state: the browser remembers the active workflow
Setup state
settingsVerified, current sensor ID, computed test folder, existing-test action
EM state
current run, completed runs, EM readings, timers, status table
Shear state
latest run data, graph timer, Stop state, analysis unlock
Manual state
distance/force mode, position, drag target, movement lockout, graph data
Cyclical state
waveform settings, force bounds, cycle count, live curve timer
Most testing behavior is event-driven: click handlers update state, redraw SVG graphs, and call Python only when local files/folders are needed.

## Slide 8
7. Frontend workflow: from setup to analysis
Basic Settings
Verify
Test Configuration
Begin Test
Testing Window
Perform Analysis
Analysis Tabs
- Verify checks basic setup and reveals the test configuration section
- Begin Test validates the selected workflow and opens the matching modal
- Perform Analysis runs a progress state, calls Python, then fills tabbed plots/tables

## Slide 9
8. Folder and existing-test logic protects saved data
Google Drive /
SensorID /
05 26 26_325mm2_EM /
FUT /
CAP /
Analysis outputs
05 26 26_325mm2_EM_2 /
- The browser computes the intended test path from Sensor ID, date, surface area, and test type
- Python checks the filesystem for an existing matching folder, including versioned folders like _2 or _3
- Existing Test Found offers version, redo, overwrite, or cancel
Key rule: data folders are intended to be created/saved at analysis time, while the UI can still preview the path earlier.

## Slide 10
9. Test workflows: four modes share a pattern but differ in controls
EM Test
run table + Force vs Time graph; runs pause between cycles; analysis after completion
Shear Test
load-cell style graph; Start then Stop; analysis uses latest valid run
Manual Test
distance or force control; drag confirm; three live relationship graphs
Cyclical Test
sine/square fatigue cycling; force bounds and cycle estimate; Stop locks/unlocks state

## Slide 11
10. Graphs are custom SVG, not a charting library
- SVG elements are generated by JavaScript strings
- Helpers convert data values into x/y coordinates
- Axes, tick marks, paths, markers, and hover points are drawn manually
- This makes the preview lightweight and easy to package
same idea as drawEmForceGraph / drawShearGraph

## Slide 12
11. Analysis windows turn saved or simulated data into reviewable outputs
EM Analysis
- Raw Signals
- Pressure Sensitivity Curves
- All CH/Runs
- Summary Stats
- Report Output
Shear Analysis
- Plot
- Failure Checks
- Report Output
Manual Analysis
- Capacitance vs Force
- Force vs Time
- Capacitance vs Time
The Report Output tabs are built for copy/paste into tracking spreadsheets: headers are visible; copy buttons can copy just the values row.

## Slide 13
12. run_web_gui.py: the local bridge between browser and Mac
The backend uses Python’s built-in HTTP server, so the UI can stay simple and local.
HardwareState
stores Zaber/FUTEK connection state and preview mode flags
SavedTestAnalyzer
generates SVG plots, TSV tables, JSON summaries, and report outputs
Handler
receives browser API calls and dispatches routes
main()
starts the server on port 8765 or a free backup port

## Slide 14
13. Backend API routes: small commands sent from JavaScript
/api/check-existing
find latest matching test folder and return choices
/api/perform-analysis
prepare FUT/CAP inputs, generate analysis files, return summaries
/api/browse-folder
open native folder chooser when possible
/api/connect / move / home
future or preview hardware control entry points
CORS support is included so the browser can call the backend even when the file is opened from file:// during preview work.

## Slide 15
14. Analysis saving: what Python writes to disk
SensorID / test folder /
FUT / Run 1.csv
CAP / Run 1.csv
Summary_Stats.tsv
Report_Output.tsv
Raw_Signals.svg
Pressure_Sensitivity_Curves.svg
All_CH_Runs.svg
analysis_summary.json
- prepare_test_folder creates preview FUT/CAP inputs from EM, Shear, or Manual readings
- SavedTestAnalyzer reads those inputs and writes analysis artifacts
- The browser receives a JSON summary and displays matching tabs
This is the place where Akhil/Jason’s final analysis scripts can replace the preview generator later.

## Slide 16
15. Hardware integration points are intentionally isolated
- The UI already has the screens and safety states: Start, Stop/Pause, lockouts, home/reset, run repeat
- Python is the right layer to call ZaberCLI and FUTEKDeviceCLI because browser JavaScript cannot directly access serial devices or .NET drivers
- If the wrong COM port is used, the Zaber connect route should catch that and return a clear error to the GUI
Future real-hardware swap
Replace preview timers and fake force generation with calls into the hardware modules, while keeping the same frontend windows and state transitions.
UI stays stable; backend gets more real.

## Slide 17
16. The short explanation you can give your boss
“I converted the old desktop-style Tkinter workflow into a browser-based local GUI. The frontend is a single HTML file that contains the forms, modals, styling, live SVG graphs, validation, and button behavior. A small Python server runs locally behind it so the browser can still do computer things: pick folders, check whether test folders already exist, generate FUT/CAP preview files, and save analysis outputs. The testing windows are currently preview-safe with simulated data, but the structure is ready for the real Zaber and FUTEK calls to plug into the Python backend.”
That framing explains both what you built and why the architecture makes sense.